## Two-Year and Long-Term Averages
Table 1: Average Arsenic Concentrations, 2014-2015 and long-term
Notes: Systems marked with * have consistently exceeded 10 ppb for at least a decade (2005-2016), based on annual averages and available data (Appendix A). “Long-term” averages refer to the average since the sampling start date. Some data gaps exist due to infrequent sampling. R M S Water Supply Corp. does not directly serve a community. Rather, it sells water to the City of Riesel and M S Water Supply Corp. Click on the name of system to visit Texas Drinking Water Watch.
Water System | County | Pop. Served | 2014-2015 avg. (ppb) | Long-term avg. (ppb) | Sampling Start Date
Bruni Rural Water Supply Corp.* | Webb | 648 | 79.6 | 85.3 | 2002-02-25
Jim Hogg County Water Control & Improvement Dist. 2 | Jim Hogg | 5010 | 56.2 | 43.2 | 2002-02-25
Klondike Independent School Dist. | Dawson | 231 | 39.6 | 27.8 | 2003-02-04
Duval County CRD Benavides* | Duval | 1362 | 39 | 36.2 | 2003-07-09
City of Seagraves* | Gaines | 2396 | 35.5 | 38.8 | 2002-02-27
City of Andrews* | Andrews | 11088 | 29.9 | 21.3 | 2002-06-20
Country Villa Mobile Home Park | Bee | 50 | 27.9 | 28.7 | 2004-12-15
Loop Water Supply Corp.* | Gaines | 300 | 27.6 | 31.1 | 2003-02-03
Perry Water Supply Corp. | McLennan | 420 | 25.3 | 18.1 | 2003-01-21
TDCJ W Pack Unit* | Grimes | 1597 | 22.9 | 25 | 2003-09-03
Prairie Hill Water Supply Corp.* | Limestone | 2055 | 22.9 | 23.7 | 2003-08-27
Tri-County Special Utility District* | Falls | 5013 | 22.2 | 22.9 | 2003-08-06
City of New Home* | Lynn | 334 | 21.1 | 24.2 | 2003-02-05
Welch Water Supply Corp.* | Dawson | 354 | 20.4 | 20.8 | 2003-02-04
Pecan Grove Mobile Home Park* | Lubbock | 108 | 18.4 | 21.1 | 2003-03-18
Boudreaux Gardens | Harris | 123 | 18.3 | 12.6 | 2006-02-08
Lasalle Landing Water System* | Jackson | 111 | 17.4 | 19.3 | 2004-05-17
Grassland Water Supply Corp.* | Lynn | 55 | 16.8 | 17.6 | 2004-01-22
Hidden Tree Ranch | Lubbock | 60 | 16.4 | 18.3 | 2004-04-14
Spring Creek Pure Utilities* | Polk | 150 | 15.7 | 28.5 | 2004-07-14
Victoria County Water Control & Improvement Dist. 2* | Victoria | 882 | 15.2 | 14.1 | 2003-09-22
City of Kenedy | Karnes | 8101 | 15 | 16.1 | 2002-03-18
Axtell Water Supply Corp.* | McLennan | 1780 | 14.3 | 15.6 | 2003-06-24
Matagorda County Water Control & Improvement Dist. 2 | Matagorda | 471 | 14.2 | 9 | 2006-03-09
Cotton Bayou Park | Chambers | 114 | 14.1 | 22.9 | 2004-10-26
Town North Estates* | Lubbock | 210 | 14 | 16.1 | 2004-03-04
EOL Water Supply Corp.* | McLennan | 1735 | 14 | 15.3 | 2003-06-25
Cyndie Park 2 Water Supply Corp. | Nueces | 45 | 13.9 | 13.2 | 2005-02-02
Valley Acres Mobile Home Park Water System* | El Paso | 54 | 13.8 | 22.6 | 2004-08-05
Terrells Mobile Home Park* | Lubbock | 70 | 13.7 | 15.3 | 2004-02-23
Duval County CRD Concepcion | Duval | 161 | 13.5 | 10.6 | 2004-02-02
Green Acres Mobile Home Park | El Paso | 141 | 13.4 | 13.6 | 2004-03-23
Wolfforth Place | Lubbock | 460 | 13.4 | 15.3 | 2003-05-22
City of Wolfforth* | Lubbock | 3600 | 13 | 15.8 | 2002-01-14
City of Seminole* | Gaines | 6210 | 12.8 | 12.8 | 2003-12-08
Country View Mobile Home Park | Lubbock | 55 | 12.6 | 12.3 | 2013-04-02
City of Riesel | McLennan | 1009 | 12.5 | 13.1 | 2009-06-02
Ellinger Sewer and Water Supply Corp.* | Fayette | 462 | 12.4 | 13.5 | 2003-05-14
City of Plains* | Yoakum | 1481 | 12.4 | 13.7 | 2003-02-06
Sawmill Addition | Orange | 72 | 12.2 | 11.8 | 2004-07-26
Freer WCID | Duval | 3161 | 12.1 | 34.3 | 2002-01-23
Lake Livingston Green Acres | Polk | 120 | 12.1 | 15.2 | 2004-08-04
El Paso Tornillo Water Improvement Dist.* | El Paso | 3400 | 11.9 | 12.2 | 2002-10-16
Candelaria Water Supply Corp.* | Presidio | 84 | 11.9 | 12.5 | 2004-11-16
City of Danbury | Brazoria | 2325 | 11.8 | 9.4 | 2003-11-06
Town North Village Water System* | Lubbock | 335 | 11.8 | 12.6 | 2003-03-12
Birome Water Supply Corp. | Hill | 1523 | 11.7 | 11.7 | 2003-02-18
R M S Water Supply Corp. | McLennan | (see note) | 11.5 | 12.7 | 2007-12-06
Valley Estates | Lubbock | 70 | 11.4 | 11.2 | 2004-03-18
Gardendale Mobile Home Park | Ector | 50 | 11.3 | 11.2 | 2008-11-11
City of Opdyke West* | Hockley | 273 | 11.3 | 12.4 | 2004-02-05
Whorton Mobile Home Park* | Lubbock | 60 | 11.3 | 16 | 2005-03-28
Refugio County Water Control & Improvement Dist. 1 | Refugio | 479 | 11.3 | 10.7 | 2003-12-18
Village of Surfside Beach* | Brazoria | 3477 | 11.1 | 11.9 | 2003-06-30
Tempe Water Supply Corp. 1 | Polk | 2112 | 11.1 | 13.6 | 2003-08-20
M S Water Supply Corp.* | McLennan | 744 | 10.8 | 11 | 2003-05-08
Twin Oaks Mobile Home Park* | Midland | 234 | 10.8 | 13.1 | 2004-02-11
Redford Water Supply | Presidio | 156 | 10.8 | 10.7 | 2004-08-02
City of Liverpool* | Brazoria | 619 | 10.7 | 11.5 | 2003-10-16
Jim Wells County Fresh Water Supply Dist. 1 | Jim Wells | 1902 | 10.7 | 10.2 | 2003-09-09
Sherwood Estates Mfg. Townhome | Midland | 150 | 10.6 | 12.8 | 2004-02-11
Cox Addition Water System* | Lubbock | 126 | 10.5 | 11.3 | 2003-11-24
Iwanda Mobile Home Park | Orange | 38 | 10.5 | 10.4 | 2004-06-21
City of Morton | Cochran | 2025 | 10.4 | 11 | 2002-06-03
Hackberry Creek Subdivision | Chambers | 165 | 10.1 | 33.9 | 2004-07-19

## Annual Averages
Annual average arsenic concentrations (ppb)
Water System | Water System ID | County | Pop. Served | Annual Avg. exceeded 10 ppb from 2006-2015 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Axtell Water Supply Corp. | TX1550016 | McLennan | 1780 | Yes |  | 13 |  | 14.85 | 16.25 | 14.975 | 14.875 | 16.85 | 17.475 | 18.325 | 15.7 | 14.525 | 14.15 | 14.425
Birome Water Supply Corp. | TX1090017 | Hill | 1523 | No |  | 10.5 |  | 10.975 | 12.375 | 10.975 | 11.225 | 12.6 | 13.525 | 12.55 | 11.475 | 9.715 | 11.075 | 12.225
Boudreaux Gardens | TX1011084 | Harris | 123 | No | 2006: 6.675; 2007: 2.3; 2012: 16; 2013: 16.25; 2014: 19.225; 2015: 17.45
Bruni Rural Water Supply Corp. | TX2400003 | Webb | 648 | Yes | 90.6333 | 83.85 | 87.425 | 101.5 | 84.1 | 97.35 | 100.825 | 94.22 | 95.84 | 91.76 | 80.1125 | 62.2625 | 79.4 | 79.7556
Candelaria Water Supply Corp. | TX1890011 | Presidio | 84 | Yes |  |  | 12.6 | 13.2 | 11.9 | 11.2429 | 11.42 | 13.5 | 14.875 | 14.725 | 12.55 | 12.1667 | 11.85 | 12.1
City of Andrews | TX0020001 | Andrews | 11088 | Yes | 30.2 |  |  | 29.8667 | 29.3 | 12.6325 | 14.6825 | 14.8625 | 16.25 | 20.5625 | 22.4725 | 21.7638 | 29.425 | 30.325
City of Danbury | TX0200011 | Brazoria | 2325 | No |  | 7.05 |  | 8.9333 | 5.8333 | 5.575 | 4.9 | 5.75 | 10 | 24.2 | 10.55 | 12.4 | 10.225 | 13.02
City of Kenedy | TX1280002 | Karnes | 8101 | No | 34.3 |  |  | 33.075 | 25.35 | 7.69 | 5.71 | 6.5 |  | 4.73 |  |  | 16.4 | 13.95
City of Liverpool | TX0200555 | Brazoria | 619 | Yes |  | 10.1 |  | 10.825 | 11.25 | 13.75 | 10.75 | 11.825 | 12.675 | 12.825 | 11.34 | 15 | 10.3 | 11.1
City of Morton | TX0400001 | Cochran | 2025 | No | 12.85 |  |  | 11.76 | 10.5512 | 9.5987 | 9.8588 | 14.9125 | 10.375 | 11.5125 | 11.3325 | 1025 | 10.2462 | 10.5775
City of New Home | TX1530004 | Lynn | 334 | Yes |  | 27.1 |  | 25.5333 | 26.625 | 26.475 | 23.65 | 26.275 | 25.125 | 25.325 | 23.575 | 20.975 | 22.1 | 20.125
City of Opdyke West | TX1100030 | Hockley | 273 | Yes |  |  | 11.3 | 12.525 | 11.975 | 11.775 | 12.475 | 13.2 | 13.575 | 13.95 | 13.175 | 11.575 | 11.35 | 11.175
City of Plains | TX2510002 | Yoakum | 1481 | Yes |  | 14.8 |  | 14.625 | 15.5 | 12.6 | 13.625 | 13.45 | 14.05 | 15.2 | 13.5 | 12.7 | 12.475 | 12.375
City of Riesel | TX1550040 | McLennan | 1009 | No | 2009: 13.6; 2010: 12.75; 2011: 15.325; 2012: 13.175; 2013: 12.225; 2014: 12.625; 2015: 12.3
City of Seagraves | TX0830001 | Gaines | 2396 | Yes | 43.6 |  |  | 40.425 | 38.425 | 34.975 | 40.225 | 36.26 | 43.1 | 43.325 | 39.8778 | 36.6125 | 35.175 | 35.9125
City of Seminole | TX0830012 | Gaines | 6210 | Yes |  | 14.1 |  | 16.6167 | 17.05 | 10.3217 | 11.0383 | 12.3917 | 13.2333 | 12.8 | 13.775 | 11.675 | 11.8944 | 13.9525
City of Wolfforth | TX1520005 | Lubbock | 3600 | Yes | 15.03 |  |  | 13.7966 | 14.9421 | 14.1622 | 16.4222 | 21.06 | 16.0925 | 17.4944 | 17.0359 | 13.0877 | 13.3538 | 12.26
Cotton Bayou Park | TX0360004 | Chambers | 114 | No |  |  | 25.7 | 25.2667 | 26.725 | 25.7 | 25.525 | 27.625 | 30.5 | 27.8 | 25.2333 | 9.7 | 15.6 | 12.625
County View Mobile Home Park | TX1520247 | Lubbock | 55 | No | 2013: 11.5275; 2014: 13.475; 2015: 11.75
Country Villa Mobile Home Park | TX0130058 | Bee | 50 | No | 2004: 30.4; 2005: 30.65; 2009: 30; 2010: 30.9; 2013: 27.1; 2014: 27.5; 2015: 28.7
Cox Addition Water System | TX1520106 | Lubbock | 126 | Yes |  | 11.1 | 11.9 | 11.025 | 11.45 | 10.96 | 11.15 | 11.6 | 12.85 | 12.375 | 11.47 | 10.2075 | 10.8025 | 10.2075
Cyndie Park 2 Water Supply Corp. | TX1780050 | Nueces | 45 | No |  |  |  | 11.9 | 10.2 | 9.9867 | 11.175 | 14.775 | 9.915 | 17.975 | 12.7 | 13.9333 | 8.8333 | 17.625
Duval County CRD Benavides | TX0660001 | Duval | 1362 | Yes |  | 33.8 |  | 29.9 | 33.5667 | 34.0143 | 36.1125 | 40.55 | 37.925 | 34.7875 | 34.4625 | 35.4375 | 37.3 | 40.7875
Duval County CRD Concepcion | TX0660015 | Duval | 161 | No |  |  | 8.1 | 10.4267 | 8.15 |  |  | 9.8 | 10.2 | 8.47 | 9.05 | 9.2 | 9.1 | 14.575
El Paso Tornillo Water Improvement Dist. | TX0710019 | El Paso | 3400 | Yes | 10.5 |  |  | 11.375 | 11.4583 | 11.575 | 12.825 | 12.5 | 13.95 | 12.075 | 12.425 | 12.45 | 11.8525 | 11.975
Ellinger Sewer and Water Supply Corp. | TX0750014 | Fayette | 462 | Yes |  | 12.4 |  | 11.425 | 11.1 | 12.725 | 11.125 | 14.7 | 22.05 | 14.5 | 13.76 | 12.275 | 12.5 | 12.225
EOL Water Supply Corp. | TX1550025 | McLennan | 1735 | Yes |  | 10.6667 |  | 17.78 | 16.9143 | 14.3 | 17.64 | 18.2375 | 15.075 | 16.3875 | 14.0625 | 13.3913 | 13.7625 | 14.1375
Freer Water Control & Improvement Dist. | TX0660002 | Duval | 3161 | No | 38.5 |  |  | 41.94 | 39.225 | 44.425 | 43.9 | 42.575 | 45.425 | 41.3333 | 38.8 | 13.925 | 8.6 | 15.55
Gardendale Mobile Home Park | TX0680148 | Ector | 50 | No | 2008: 8.8; 2011: 13; 2014: 11; 2015: 11.5
Grassland Water Supply Corp. | TX1530005 | Lynn | 55 | Yes |  |  | 19.9 | 18.575 | 18.4 | 15.6 | 15.625 | 19.6 | 18.45 | 19.4 | 17.925 | 15.95 | 17.425 | 16.225
Green Acres Mobile Home Park | TX0710066 | El Paso | 141 | No |  |  | 14.4 | 12.1667 | 12.2 | 13.4 |  | 14.4 | 13.525 | 14.375 | 13.575 | 13.85 | 13.5475 | 13.325
Hackberry Creek Subdivision | TX0360100 | Chambers | 165 | No |  |  | 36.8 | 38.6333 | 41.5 | 36 | 41.2 | 48.04 | 48.425 | 48.175 | 41.35 | 14.025 | 4.875 | 16.425
Hidden Tree Ranch | TX1520009 | Lubbock | 60 | No | 2004: 17.5; 2005: 19.2; 2006: 17.2; 2010: 18.3; 2012: 22.05; 2013: 17.825; 2014: 16.225; 2015: 16.575
Iwanda Mobile Home Park | TX1810061 | Orange | 38 | No |  |  | 9.6 | 9.65 | 10.4 | 9.825 | 10.875 | 11.4 | 11.5 |  |  | 10.1 | 10.65 | 10.275
Jim Hogg County Water Control & Improvement Dist. 2 | TX1240001 | Jim Hogg | 5010 | No | 77.42 | 27.36 | 28.6 | 44.425 | 44.28 | 18.275 | 8.3675 | 20.425 | 30.675 | 55.45 | 56.6 | 61.85 | 63.7 | 50.12
Jim Wells County Fresh Water Supply Dist. 1 | TX1250030 | Jim Wells | 1902 | No |  | 6.2 |  |  |  | 9.88 | 10.3 | 11.55 | 9.8975 | 10.1875 | 9.5725 | 9.85 | 15 | 11.4
Klondike Independent School District | TX0580025 | Dawson | 231 | No |  | 14.1 |  | 14.55 | 14.9 | 10.16 |  | 15.8 | 23.9 | 34.825 | 43.35 | 38.725 | 40.75 | 38.4
Lake Livingston Green Acres | TX1870093 | Polk | 120 | No |  |  | 13.3 | 14.975 | 14.775 | 14.1 | 13.75 | 16.575 | 18.9 | 18.825 | 16.7 | 15.25 | 16.625 | 7.55
Lasalle Landing Water System | TX1200008 | Jackson | 111 | Yes |  |  | 8.18 | 18.8 | 20.85 | 19.3 | 21.9 | 25.125 | 18.4667 | 19.5 | 17.775 | 17.725 | 14.125 | 20.725
Loop Water Supply Corp. | TX0830011 | Gaines | 300 | Yes |  | 27 |  | 30.75 | 30.625 | 28.525 | 32.9 | 31.725 | 38.35 | 34.775 | 31.375 | 28.9 | 27.2 | 28.025
M S Water Supply Corp. | TX1550037 | McLennan | 744 | Yes |  | 9 |  | 10.375 | 11.6 | 11 | 10.575 | 11.6 | 11.05 | 11.85 | 11.2 | 10.7675 | 10.5625 | 11.025
Matagorda County Water Control & Improvement Dist. 2 | TX1610016 | Matagorda | 471 | No | 2006: 2; 2009: 10.85; 2010: 2.025; 2012: 11.95; 2015: 14.18
Pecan Grove Mobile Home Park | TX1520039 | Lubbock | 108 | Yes |  | 24.15 | 21 | 20.45 | 21.95 | 19.2 | 22.075 | 22.675 | 21.8 | 23.525 | 22.3 | 18.75 | 19 | 17.85
Perry Water Supply Corp. | TX0730016 | McLennan | 420 | No |  | 9.95 |  | 10.625 |  | 11.4 | 12.575 | 15.15 | 14.5 |  | 26.6 | 23 | 26.55 | 24.05
Prairie Hill SWC | TX1470011 | Limestone | 2055 | Yes |  | 18.7 |  | 23.15 | 22.625 | 24 | 23.375 | 25.925 | 24.6 | 22.8 | 25.725 | 23.65 | 24.225 | 21.84
R M S Water Supply Corp. | TX1550136 | McLennan | 0 | No | [5 empty] | 11.6 | 11.625 | 12.85 | 13.05 | 17.05 | 12.75 | 11.675 | 11.225 | 11.7
Redford Water Supply | TX1890012 | Presidio | 156 | No |  |  | 10.5 | 12.05 | 12.475 | 12.525 | 9.5 | 9.875 | 10 | 11.5 | 8.805 | 10.2975 | 11.225 | 10.405
Refugio County Water Control & Improvement Dist. 1 | TX1960004 | Refugio | 479 | No |  | 8 |  | 12.825 | 10.1925 | 7.68 | 10.975 | 11.625 | 10.53 | 11.1 | 10.2625 | 9.975 | 11.25 | 11.4
Sawmill Addition | TX1810034 | Orange | 72 | No | 2004: 11.5; 2005: 10.6; 2013: 11.25; 2014: 12.175; 2015: 12.3333
Sherwood Estates Mfg. Townhome | TX1650022 | Midland | 150 | No |  |  | 45.4 | 12.4667 | 13.525 | 9.5775 | 10.825 | 14.5 | 14.625 | 13.525 | 11.2975 | 10.955 | 10.5375 | 10.745
Spring Creek Pure Utilities | TX1870149 | Polk | 150 | Yes |  |  | 29.1 | 22.125 | 30.775 | 31.025 | 32.6 | 31.025 | 39.15 | 35.7 | 33.3 | 27.45 | 13.775 | 17.55
TDCJ W Pack Unit | TX0930034 | Grimes | 1597 | Yes |  | 2 |  |  | 25.15 | 26.1 | 26.6 | 32.075 | 26.425 | 30.7 | 25.25 | 18.175 | 23.225 | 22.5
Tempe Water Supply Corp. 1 | TX1870105 | Polk | 2112 | No |  | 5.7333 |  | 12.02 | 12.3727 | 14.2 | 14.775 | 12.4667 | 18.1125 | 17.5875 | 13.67 | 15.0125 | 9.3625 | 12.6333
Terrells Mobile Home Park | TX1520192 | Lubbock | 70 | Yes |  |  | 13.5 | 14.175 | 15.8 | 14.85 | 15.25 | 15.725 | 16.7 | 17.5 | 16.95 | 14.675 | 13.75 | 13.55
Town North Estates | TX1520152 | Lubbock | 210 | Yes |  |  | 17.5 | 16.75 | 17.45 | 15.9 | 16.225 | 17.675 | 17.65 | 17.125 | 15.875 | 13.575 | 14.325 | 13.75
Town North Village Water System | TX1520094 | Lubbock | 335 | Yes |  | 13.9667 | 14.65 | 12.6111 | 13.2875 | 11.6875 | 11.6375 | 12.8875 | 13.8625 | 13.675 | 12.9875 | 10.7375 | 12.4625 | 11.175
Tri-County SUD | TX0730004 | Falls | 5013 | Yes |  | 17.8 |  | 17.6812 | 23.325 | 21.3 | 19.9733 | 27.3333 | 28.725 | 22.1538 | 25.475 | 24.8 | 22.5583 | 21.925
Twin Oaks MHP | TX1650057 | Midland | 234 | Yes |  |  | 17.1 | 12.95 | 13.15 | 10.36 | 11.4 | 13.7 | 20.15 | 15.2 | 14.325 | 10.2525 | 10.66 | 10.925
Valley Acres Mobile Home Water System | TX0710139 | El Paso | 54 | Yes |  |  | 21.5 | 24.4 | 22.95 | 25.3 | 26.775 | 25.45 | 26.575 | 25.575 | 22.9 | 21.975 | 16.625 | 11.035
Valley Estates | TX1520198 | Lubbock | 70 | No | 2004: 13; 2013: 9.9975; 2014: 11.225; 2015: 11.525
Victoria County Water Control & Improvement Dist. 2 | TX2350006 | Victoria | 882 | Yes |  | 10.2 |  | 14.725 | 14.4 | 12.3 | 14.25 | 13.975 | 12.625 | 12.525 | 14.825 | 14.55 | 15.7 | 14.725
Village of Surfside Beach | TX0200037 | Brazoria | 3477 | Yes |  | 9.7 |  | 12.5917 | 12.5833 | 12.8 | 11.2778 | 11.625 | 14.3583 | 12.5583 | 10.8786 | 10.5091 | 10.6 | 11.45
Welch Water Supply Corp. | TX0580013 | Dawson | 354 | Yes |  | 21.7 |  | 20.85 | 20.275 | 18.325 | 21.7333 | 21.775 | 23.625 | 22.775 | 21.45 | 17.3175 | 19.675 | 21.05
Whorton Mobile Home Park | TX1520149 | Lubbock | 60 | Yes |  |  |  | 15.92 | 18.1156 | 20.2625 | 20.6625 | 18.9125 | 19.8375 | 18.8333 | 14.0417 | 12.8655 | 11.2583 | 11.3333
Wolfforth Place | TX1520199 | Lubbock | 460 | No |  | 16.75 |  |  | 15.2 |  |  | 16.025 | 17 | 16.35 | 15.45 | 14.55 | 13.1 | 13.775